Datu aizsardzība un drošība
10. lekcija
Valdis Vītoliņš

---
Plāns
- IT resursu fiziskā drošība
- Žurnāli un auditi

---
IT fiziskā drošība
Fiziskā drošība ir paņēmienu kopums, kurus pielieto, lai novērstu resursu vai iekārtu neautorizētu izmantošanu un aizsargātu personālu un iekārtas no kaitējumiem.

---
Physical Security Context
Fizisko resursu loma
- Pakalpojumi
  - Informatīvie pakalpojumi
  - Informācijas un datu apstrādes sistēmas
  - Tīmeklis, failu pārraide, u.tml.
- Dati un informācija
  - Operētājsistēmas, datu bāzes
- Fiziskie resursi
  - Skaitļošanas un datu pārraides iekārtas
  - Datu nesēji un sakaru tīkli
  - Elektrība
  - Dzesēšana un ventilācija
  - Telpas, ēkas un teritorija
  - Darbinieki
Nodrošina
Atkarīgi no
[Speaker Notes: Figure 13.1 suggests the overall context in which physical security concerns arise. The central concern is the information assets of an organization. These information assets provide value to the organization that possesses them, as indicated by the upper four items in the figure. In turn, the physical infrastructure is essential to providing for the storage and processing of these assets. The lower four items in the figure are the concern of physical security. Not shown is the role of logical security, which consists of software- and protocol-based measures for insuring data integrity, confidentiality, and so forth. The role of physical security is affected by the operating location of the information system, which can be characterized as static, mobile, or portable. Our concern in this chapter is primarily with static systems, which are installed at fixed locations. A mobile system is installed in a vehicle, which serves the function of a structure for the system. Portable systems have no single installation point but may operate in a variety of locations, including buildings, vehicles, or in the open. The nature of the installation of the system determines the nature and severity of the threats of various types, including fire, roof leaks, unauthorized access, and so forth.]

---
Natural Disasters
Dabas kataklizmas
- Dabas kataklizmas
  - Plūdi
  - Zemestrīces
  - Vētras
  - Zibens
  - Sniegs, sals
- Vides izmaiņas
  - Pārāk zema/augsta temperatūra
  - Pārāk liels mitrums
  - Uguns un dūmi
  - Ūdens
  - Putekļi
  - Ķīmiskie, radoloģiskie un bioloģiskie draudi
[Speaker Notes: Natural disasters are the source of a wide range of environmental threats. Table 13.1 in the text lists six categories of natural disasters. We comment briefly on each: A tornado can generate winds that exceed hurricane strength in a narrow band along the tornado's path. There is a substantial potential for structural damage, roof damage, and loss of outside equipment. Off site, a tornado may cause a temporary loss of local utility and communications, typically followed by quick restoration of services. A hurricane may also cause significant structural damage and damage to outside equipment. Off site, there is the potential for severe region-wide damage to public infrastructure, utilities, and communications. If on-site operation must continue, then emergency supplies for personnel as well as a backup generator are needed. A major earthquake has the potential for the greatest damage and occurs without warning. A facility near the epicenter may suffer catastrophic, even complete, destruction, with significant damage to data centers and other IS facilities. ice storm or blizzard can cause some disruption / damage to IS facilities if outside equipment and he building are not designed to survive ice and snow accumulation. lightning strikes can range from no impact to disaster. The effects depend on the proximity of the strike, and the efficacy of grounding and surge protector measures in place. Off site, there can be disruption of electrical power and have potential for fires. Flood is a concern in areas that are subject to flooding and for facilities that are in severe flood areas, at low elevation. Damage can be severe, with long-lasting effects and the need for a major clean up operation.]

---
Technical Threats
Tehniskie traucējumi
- Elektrība ir IT pamatu pamats, tās piegādes traucējumi būtiski ietekmē IT resursus
- Galvenie elektrības piegādes traucējumi
  - Plānoti/neplānoti atslēgumi
  - Pārāk augsts/zems spriegums
- Elektromagnētiskie traucējumi (electromagnetic interference — EMI)
  - Ietekmē t.s. "vājstrāvas" iekārtas
  - Netālu esoši dzinēji, mikroviļņu raidītāji, radio stacijas
- Iekārtu darbības traucējumi var izraisīt vides izmaiņas
  - Paaugstinātu temperatūru
[Speaker Notes: Technical threats encompass electrical power and electromagnetic emissio threats. Electrical power is essential to the operation of an information system. All of the electrical and electronic devices in the system require power, and most require uninterrupted utility power. Power utility problems can be broadly grouped into three categories: under-voltage - when equipment receives less voltage than required for normal operation, from temporary dips in voltage supply, brown-outs to power outages. Generally, no damage is done, but service is interrupted. over-voltage - is more serious, from a utility company supply anomaly, internal wiring fault, or by lightening. A sufficient surge can destroy silicon-based components, including processors and memories. noise - on power-lines, which can endure through the filtering circuitry of the power supply and interfere with signals inside electronic devices, causing logical errors. Electromagnetic Interference (EMI), from noise along a power supply line, motors, fans, heavy equipment, and even other computers generate electrical noise that can cause intermittent problems with the computer you are using. This noise can be transmitted through space as well as nearby power lines. Also from high-intensity emissions from nearby commercial radio stations and microwave relay antennas. Even low-intensity devices, such as cellular telephones, can interfere with sensitive electronic equipment.]

---
Human-Caused Threats
Cilvēku izraisītie traucējumi
- Operatoru kļūdas
  - Apzināti iekšējo darbinieku uzbrukumi
- Neautorizēta piekļuve
  - Vandālisms
  - Iekārtu ļaunprātīga izmantošana
  - Zādzība
[Speaker Notes: Human-caused threats are more difficult to deal with than the environmental and technical threats so far discussed. Human-caused threats are less predictable than other types of physical threats. Worse, human-caused threats are specifically designed to overcome prevention measures and/or seek the most vulnerable point of attack. We can group such threats into the following categories: • Unauthorized physical access: Those who are not employees should not be in the building or building complex at all unless accompanied by an authorized individual. Not counting PCs and workstations, information system assets, such as servers, mainframe computers, network equipment, and storage networks, are generally housed in restricted areas. Access to such areas is usually restricted to only a certain number of employees. Unauthorized physical access can lead to other threats, such as theft, vandalism, or misuse. • Theft: This threat includes theft of equipment and theft of data by copying. Eavesdropping and wiretapping also fall into this category. Theft can be at the hands of an outsider who has gained unauthorized access or by an insider. • Vandalism: This includes destruction of equipment and destruction of data. • Misuse: This category includes improper use of resources by those who are authorized to use them, as well as use of resources by individuals not authorized to use the resources at all.]

---
Mitigation Measures Environmental Threats
Vides traucējumu novēršana
- Datu centri ģeoloģiski un meteoroloģiski stabilās vietās
- Apkārtējās vides novērošana
  - Ūdens līmenis
  - Temperatūra
- Plūdu ierobežošana
  - Augstāka atrašanās vieta
  - Slūžas un barjeras
- Iekšējās pārraudzības iekārtas
  - Temperatūras un mitruma kontroles iekārtas
  - Uguns un dūmu detektori
- Brīdinājumu iekārtas
  - Ugunsdzēsības trauksmes
  - Ugunsdzēsības iekārtas
[Speaker Notes: In this section, we look at a range of technique for preventing, or in some cases simply deterring, physical attacks. Dealing with Inappropriate Temperature and Humidity is primarily a matter of having environmental-control equipment of appropriate capacity and appropriate sensors to warn of thresholds being exceeded. Beyond that, the principal requirement is the maintenance of a power supply. Dealing with fire involves a combination of alarms, preventive measures (such as the list given in the text), and fire mitigation. To deal with the smoke threat, needs smoke detectors in every room with computer equipment, under raised floors, and over suspended ceilings. Smoking should not be permitted in computer rooms. Prevention and mitigation measures for water threats must encompass their range. For plumbing leaks measures can be taken to sensibly locate equipment, and shutoff valves should be clearly visible. To deal with both plumbing leaks and other sources of water, sensors are vital, located on the floor of computer rooms, as well as under raised floors, and enabled to automatically cut off power in the event of a flood. For chemical, biological, and radiological threats, specific technical approaches are available including infrastructure design, sensor design and placement, mitigation procedures, personnel training, and so forth. Standards and techniques in these areas continue to evolve. For dust hazards, the obvious prevention method is to limit dust, through the use and proper maintenance of filters and regular IS room maintenance. For infestations, regular pest control procedures may be needed, starting with maintaining a clean environment.]

---
Tehnisko traucējumu novēršana
- Elektrības piegādes traucējumiem:
  - nepārtrauktās barošanas avoti
    (uninterruptible power supply — UPS)
  - neatkarīgas/dublētas piegādes līnijas
  - avārijas ģeneratori
- Elektromagnētiskajiem traucējumiem:
  - Filtri un ekrāni
- Trokšņa un vibrācijas slāpēšana
- Kondicionēšanas (klimata uzturēšanas) iekārtas
  - Parasti dzesē, jo trūkst vēsuma, nevis siltuma
  - Parasti žāvē, jo sausums ir vēlamāks par mitrumu
[Speaker Notes: References are from: All in One Book (Shon Harris, 2005) pg. 358 Power protection (365) There are three main methods of protecting against power problems: (365) UPS Online UPS systems: Use AC line voltage to charge a bank of batteries. When in use the UPS has an inverter that changes the DC output from the batteries into the required AC form and regulates the voltage as it powers computer devices. (365) Have the normal primary power passing though them day in and day out. The constantly provide power from their own inverters, even when the electric power is in proper use. This UPS device is able to quickly detect when power failure takes place and can provide the necessary electricity and pick up the load after a power failure much more quickly then a standby UPS. (366) Standby UPS: Devices stay inactive until the power fails. The system has sensors that detect a power failure, and the load is then switched to the battery pack. (366) UPS factors that should be reviewed are the size of the electrical load the UPS can support, the speed with which it can assume the load when the primary source fails, and the amount of time it can support the load. (403) Power Line Conditioners Backup Sources Are necessary when there is a power failure and the outage will last longer than a UPS can last. Backup supplies can be a redundant line from another electrical substation, or from a motor generator, and can be used to supply main power or charge the batteries in a UPS system. (366)]

---
Mitigation Measures Human-Caused Threats
Cilvēku izraisīto traucējumu novēršana
- Fiziskās pieejas ierobežošana
  - IT iekārtām, sakaru un barošanas līnijām
- Novērošanas un trauksmes iekārtas
- Operatoru apmācība
  - Operatoru novērošana
[Speaker Notes: The general approach to human-caused physical threats is physical access control. Physical access control should cover not just IT hardware, but also locations of wiring, electrical power, HVAC equipment and distribution system, telephone and communications lines, backup media, and documents. We can suggest a spectrum of approaches that can be used to restrict access to equipment. These methods include: 1. Physical contact with a resource is restricted by restricting access to the building in which it is housed. This approach is intended to deny access to outsiders, but does not address the issue of unauthorized insiders or employees. Techniques include controlled areas patrolled or guarded by personnel, barriers that isolate each area, entry points in the barrier (doors), and locks or screening measures at each entry point. 2. Physical contact with a resource is restricted by putting it in a locked cabinet, safe, or room. Same techniques as for 1. 3. A machine may be accessed, but be secured (e.g. bolted) to a fixed object. This will deter theft, but not vandalism, unauthorized access, or misuse. 4. A security device controls the power switch. 5. A movable resource may have a tracking device so that a sensor can alert security personnel or trigger a barrier to prevent removal. 6. A portable object is equipped with a tracking device so that its current position can be monitored continually. Effective physical access control may also includes a variety of sensors and alarms to detect intruders and unauthorized access or movement of equipment.]

---
Recovery from Physical Security Breaches
Fiziskās drošības incidentu novēršana
- Praktiski vienmēr un visur to nodrošina ar pārpalicību (redundancy)
  - Nodrošina iespēju atjaunot zudušos datus
  - Datu kopijas, vēlams attālinātas un pēc iespējas aktuālas
  - Sadalītas/vienranga sistēmas ar automātisku slodzes dalīšanu
- Pārpalicība var būt pretrunā ar
  - Integritāti (nav vienīgā patiesības avota)
  - Konfidencialitāti (dublētiem datiem jānodrošina tikpat liela konfidencialitāte)
[Speaker Notes: The most essential element of recovery from physical security breaches is redundancy. Redundancy does not undo any breaches of confidentiality, such as the theft of data or documents, but it does provide for recovery from loss of data. Ideally, all of the important data in the system should be available off-site and updated as near to real-time as is warranted based on a cost/benefit tradeoff. With broadband connections now almost universally available, batch encrypted backups over private networks or the Internet are warranted and can be carried out on whatever schedule is deemed appropriate by management. At the extreme, a hot site can be created offsite that is ready to take over operation instantly and has available to it a near real time copy of operational data. Recovery from physical damage to the equipment or the site depends on the nature of the damage and, importantly, the nature of the residue. Water, smoke, and fire damage may leave behind hazardous materials that must be meticulously removed from the site before normal operations and the normal equipment suite can be reconstituted. In many cases, this requires bringing in disaster recovery specialists from outside the organization to do the cleanup.]

---
Threat Assessment
Fizisko draudu novērtēšana un novēršana
- Nosaka:
  - iespējamos draudus
  - draudu iestāšanās varbūtību
  - draudu iestāšanās izmaksas
  - draudu novēršanas izmaksas
- Saskaņā ar vērtējumu nosaka prioritātes
- Ievieš draudu novēršanas/mazināšanas pasākumus
[Speaker Notes: To implement a physical security program, an organization needs to do a threat assessment to determine the amount of resources to devote to physical security and the allocation of those resources against the various threats. Indeed this process also applies to logical security, and typically includes steps such as: 1. Set up a steering committee of all those who have a stake in the security of the IS assets, including all of the user communities. 2. Obtain information and assistance such as historical information concerning external threats, such as flood, fire, etc; and also seek expert advice from vendors, suppliers, neighboring businesses, service personnel, consultants, and academics. 3. Identify all possible threats including those that are specific to IS operations as well as those that are more general, covering the building and the geographic area. 4. Determine the likelihood of each threat so that threats can at least be grouped in such a way as to suggest where attention should be directed. All of the information from step 2 can be applied to this task, but it is clearly difficult. 5. Approximate the direct costs being its severity in terms of consequences. 6. Consider cascading costs from consequential threats that add more impact costs. 7. Prioritize the threats. to determine the relative importance of the threats as a guide to focusing resources on prevention. 8. Complete the threat assessment report that includes the prioritized list, with commentary on how the results were achieved. This report serves as the reference source for the planning process that follows.]

---
Outer Protective Layers
Ārējais fiziskās aizsardzības slānis
- Mērķis:
  - Norādīt precīzu un kontrolētu resursu robežu
  - Fiziski attālināt iespējamos draudus no sargājamiem resursiem
- Parasti ir pirmais aizsardzības slānis
  - t.s. "perimetra aizsardzība"
- Struktūras
  - Sētas, vārti, barjeras
- Vide
  - Apgaismojums, zīmes
  - Kameras, kustību, skaņas detektori, trauksmes
- Dažādas drošības politikas:
  - Parasti slēgts
  - Parasti atvērts

---
Middle Protective Layers
Vidējais aizsardzības slānis
- Mērķis:
  - Sadalīt aizsargājamās zonas
  - Kontrolēt cilvēku un resursu pārvietošanos starp tām
- Struktūras
  - Durvju un logu kontrole
  - Griestu un grīdu kontrole
  - Liftu kontrole
  - Ventilācijas, kanalizācijas u.tml. kanālu kontrole
- Vide
  - Novērošanas kameras
  - Kustību detektori
  - Cilvēku identifikācija un pieejas tiesību kontrole (autorizācija)

---
Inner Protective Layers
Iekšējais aizsardzības slānis
- Mērķis
  - Noteikt īpaši aizsargājamas vietas un resursus
- Struktūras
  - Durvju kontrole
  - Cilvēku autentificēšana un autorizēšana
  - Zīmes, novērošanas un trauksmes sistēmas
  - Seifi un bunkuri
- Vide
  - Pieejas kontrole un autorizēšana
  - Datu atdalīšana ar t.s. "gaisa spraugu"
  - Ierobežota ārēju datu nesēju lasīšana
  - Nepārtraukta novērošana
  - Regulāra uzskaite (inventarizācija)

---
Personnel Security Practices
Darbinieku uzbrukumu novēršana
- Iekšējo operatoru darbības ir visbīstamākās
  - Neapmierināti darbinieki
  - Bijušie darbinieki
  - Projektu kontraktori/piesaistītie darbinieki
- Novēršanas veidi
  - Darbinieku izpēte un atlase (background check)
  - Darbinieku apmācība
  - Darbinieku novērošana

---
NISPOM
NISPOM
- National Industrial Security Operating Manual — NISPOM
- ASV drošības pārvaldības noteikumi
  - Sākotnēji izstrādāja ASV aizsardzības ministrijā
    NISP Operating Manual (DoD 5220.22-M)
  - Pielieto arī privātiem uzņēmumiem, ja tie strādā ar klasificētu informāciju
- Apraksta
  - Klasificētas informācijas apstrādes prasības
  - Informācijas sistēmu drošības prasības
  - Personu un iesaistīto uzņēmumu pārvaldības prasības
  - Sakaru tīklu drošības prasības

---
Security Audit
Drošības auditi
- Audits ir manuāla vai automātiska sistēmu novērtēšana
  - Manuāls audits:
    - Drošības iekārtu un procedūru pārbaudēm,
    - Dokumentācijas pārbaudēm,
    - Darbinieku intervijām
  - Automātisks audits:
    - Pārbauda sistēmu drošību ar skeneriem,
    - Skenē sistēmas failus un atmiņu,
    - Analizē auditu pierakstus ar rīkiem
- Audita pieraksti (audit trail)
  - (parasti) hronoloģiski augošā secībā sakārtoti auditu ieraksti, kurus veido manuāli vai ar automātiskiem rīkiem
  - Apmeklējumu un pārbaužu žurnāli
  - Sistēmu automātiski veidotie žurnāli
  - Izmanto notikumu analīzei un to secības restaurēšanai
[Speaker Notes: Security auditing is a form of auditing that focuses on the security of an organizations information system (IS) assets. This function is a key element in computer security. Two key concepts are audits and audit trails. This definition of security audit is from RFC2828.]

---
Žurnālu veidi
- Sistēmas līmeņa žurnāli
  - Veic iekārta un/vai operētājsistēma
- Lietojumu līmeņa žurnāli
  - Veic lietotnes (datu bāzes, tīmekļa lietotnes, u.tml.)
  - Datu bāzu trigeri
- Fiziskie žurnāli
  - Veic sistēmas lietotāji
  - Nav nepieciešami īpaši rakstīšanas/lasīšanas rīki
  - Ļauj salīdzināt fiziskās drošības ierakstus ar loģiskās drošības ierakstiem

---
Syslog Examples
Windows Event Log
- Sistēmas serviss ar bināru datu bāzi, kurā ir strukturēti ieraksti
  - Notikuma ID, atribūtu nosaukumi un vērtības
  - Var eksportēt XML failā
- Trīs veidu notikumu grupas:
  - System — sistēmas notikumi un iekārtu dziņi
  - Application — lietotnes un citi servisi
  - Security — Windows autentifikācijas notikumi
[Speaker Notes: Figure 15.6 from the text shows several examples of syslog messages]

---
Approaches to Data Analysis
syslog
- UNIX-veidīgu sistēmu (t.sk. Linux) faktiskais žurnalēšanas standarts
  - Žurnāli ir neformatēta teksta faili
  - Konkrētus laukus, failu nosaukumus un vietu var regulēt ar iestatījumu failu
  - Žurnāli parasti atrodas mapē /var/log/...
- Sastāvdaļas:
  - syslog() — sistēmas bibliotēkas izsaukšanai no lietotnēm
  - logger — komanda
  - /etc/syslog.conf — iestatījumu fails
  - syslogd — process, kas saņem un apstrādā notikumus
[Speaker Notes: Some of the major approaches are: Basic Alerting is he simplest form of an analysis that gives an indication that a particular interesting event has occurred. If the indication is given in real time, it can serve as part of an intrusion detection system. Alternatively, an after-the-fact indication of suspicious activity can lead to further analysis. Baselining is the process of defining normal versus unusual events and patterns. The process involves measuring a set of known data to compute a range of normal values. These baseline values can them be compared to new data to detect unusual shifts. One approached, discussed frequently in this book, is anomaly detection. Another form of baseline analysis is thresholding, which is the identification of data that exceeds a particular baseline value, and is used to identify events, such as refused connections, that happen more than a certain number of times. Windowing is detection of events within a given set of parameters, such as within a given time period or outside a given time period—for example, baselining the time of day each user logs in and flagging logins that fall outside that range. Correlation seeks for relationships among events. A simple instance of correlation is, given the presence of one particular log message, to alert on the presence of a second particular message.]

---
syslog žurnāla piemērs
Dec 3 17:28:19 vostro sudo: pam_unix(sudo:auth): authentication failure; logname=valdis uid=1000 euid=0 tty=/dev/pts/4 ruser=valdis rhost= user=valdis
Dec 3 17:28:24 vostro sudo: valdis : TTY=pts/4 ; PWD=/home/valdis ; USER=root ; COMMAND=/bin/su
Dec 3 17:28:24 vostro sudo: pam_unix(sudo:session): session opened for user root by valdis(uid=0)
Dec 3 17:28:24 vostro su[25816]: Successful su for root by root
Dec 3 17:28:24 vostro su[25816]: + /dev/pts/4 root:root
Dec 3 17:28:24 vostro su[25816]: pam_unix(su:session): session opened for user root by valdis(uid=0)
Dec 3 17:28:24 vostro systemd-logind[1039]: Removed session c3.

---
journald
- journald ir Linux systemd pārvaldības lietotnes žurnāla bibliotēka
- Žurnālus pēc noklusēšanas raksta binārā failā ar strukturētiem laukiem
- Notikumu grupas:
  - Linux kodola ziņojumi, izmantojot kmsg procesu
  - syslog API izsaukumi
  - sd_journal_print API izsaukumi (jaunais/dabīgais journald API)
- Pēc noklusēšanas žurnālu raksta /run/log/journal/ kuru pēc pārsāknēšanas iztīra
- Ja izveido mapi /var/log/journal/ (ar nepieciešamo sākotnējo struktūru), tad raksta arī tajā

---
Žurnālu izmantošanas veidi
- Sekot, vai žurnālā parādās noteikts ieraksts
  - Ja parādās, tad, piemēram, palaist trauksmi
- Regulāri pārbaudīt žurnālu datus
  - Pārlasīt uzreiz lielu žurnālu bloku, un meklēt tajā noteiktus notikumus vai izmaiņas
- Integrēt žurnalēšanu ar uzbrukumu noteikšanas un/vai novēršanas sistēmām

---
Žurnālu analizēšanas veidi
- Trauksmes
  - Meklēt noteikta veida ierakstus, un, ja atrod, palaist trauksmi
- Bāzes līnija
  - Nosaka, kādi ieraksti ir bāzes līnija (ikdiena)
  - Salīdzināt jaunos datus ar bāzes līniju
- Robežas
  - Nosaka kāds ir pieļaujamais notikumu diapazons
- Korelācija
  - Meklēt korelācijas (saistību) starp notikumiem

---
PIV Convergence
Personas identifikācijas pārvaldība
[Speaker Notes: Figure 13.5 illustrates the convergence of physical and logical access control using FIPS 201-1. The core of the system includes the PIV and access control system as well as a certificate authority for signing CHUIDs. The other elements of the figure provide examples of the use of the system core for integrating physical and logical access control. If the integration of physical and logical access control extends beyond a unified front end to an integration of system elements, a number of benefits accrue, as noted in the text.]

---
Physical / Logical Security Integration
Fiziskās un loģiskās aizsardzības integrācija
- Praktiski vienmēr mūsdienās fiziskā aizsardzība ir saistīta ar loģisko aizsardzību
- Drošības informācijas un notikumu pārvaldības sistēmas (Security Information and Event Management — SIEM)
- Plusi
  - Darbojas uzticamāk kā nesaistīta aizsardzība
  - Vienota žurnalēšana
  - Var pievienot dažādām lietotnēm (ar vai bez aģenta)
  - Ļauj salīdzināt dažādus žurnālus
  - Ļauj prioritizēt notikumus
  - Ļauj piesaistīt automātiskas darbības
- Mīnusi:
  - Uzlaužot loģisko aizsardzību var uzlauzt arī fizisko aizsardzību
  - Novērš atsaistot loģisko aizsardzību no ārējām sistēmām, lai vispirms nāktos uzlauzt fizisko sistēmu
[Speaker Notes: Physical security involves numerous detection devices, e.g. sensors and alarms, and numerous prevention devices and measures, e.g. locks and physical barriers. Clearly there is much scope for automation and for the integration of various computerized and electronic devices. Physical security can be made more effective if there is a central destination for all alerts and alarms and if there is central control of all automated access control mechanisms, such as smart card entry sites. From the point of view of both effectiveness and cost, there is increasing interest not only in integrating automated physical security functions but in integrating, to the extent possible, automated physical security and logical security functions. The most promising area for this to be done is that of access control. For the integration of physical and logical access control to be practical, a wide range of vendors need to conform to standards that cover smart card protocols, authentication and access control formats and protocols, database entries, message formats and so on. An important step in this direction is FIPS 201-1 “Personal Identity Verification (PIV) of Federal Employees and Contractors”, issued in 2006. The standard defines a reliable, government-wide PIV system for use in applications such as access to Federally controlled facilities and information systems. The standard specifies a PIV system within which common identification credentials can be created and later used to verify a claimed identity. The standard also identifies Federal government-wide requirements for security levels that are dependent on risks to the facility or information being protected.]